## LEGRAND
SR. NO. | GROUP NAME | DESCRIPTION-2 | MAKE | CATALOG NUMBER | PRICE | TOTAL QTY | DISCOUNT% | DISC. AMOUNT (Rs.) | LANDED RATE (Rs.) | LANDED COST (Rs.)
1 | $J$209 | 63A 3P 10kA C-Curve MCB | LEGRAND | 4086 61 | 3150 | 8 | 68 | 2142 | 1008 | 8064
2 | ACB | 1600A 4P 50kA Frame Size: 1 EDO ACB, Release: Microprocessor Based Release MP2.10 LSIG with 240V AC, ECD+CC & 240V AC S/T, Type: DMX-SP-N 2500 | LEGRAND | DMXS116N4ED2N | 366910 | 1 | 68 | 249498.8 | 117411.2 | 117411.2
3 | ACB | 800A 4P 50kA Frame Size: 1 EDO ACB, Release: Microprocessor Based Release MP2.10 LSIG with 240V AC, ECD+CC & 240V AC S/T, Type: DMX-SP-N 2500 | LEGRAND | DMXS108N4ED2N | 299930 | 2 | 68 | 203952.4 | 95977.6 | 191955.2
4 | ACB ACCESSORIES | Shunt Release, Voltage: 220-250V AC/DC for DMX SP 2500 | LEGRAND | 0281 34 | 6700 | 3 | 68 | 4556 | 2144 | 6432
5 | ACB ACCESSORIES | Undervoltage Release, Voltage: 220-250V AC/DC for DMX SP 2500 | LEGRAND | 0281 39 | 9050 | 3 | 68 | 6154 | 2896 | 8688
6 | CAPACITOR | 5kVAr 3Ph Standard Duty Resin filled 440V AC Cylindrical Capacitor | LEGRAND | 5150 04 | 1706 | 1 | 67 | 1143.02 | 562.98 | 562.98
7 | CAPACITOR | 10kVAr 3Ph Standard Duty Resin filled 440V AC Cylindrical Capacitor | LEGRAND | 5150 06 | 3350 | 3 | 67 | 2244.5 | 1105.5 | 3316.5
8 | CAPACITOR | 15kVAr 3Ph Standard Duty Resin filled 440V AC Cylindrical Capacitor | LEGRAND | 5150 08 | 5018 | 1 | 67 | 3362.06 | 1655.94 | 1655.94
9 | CAPACITOR | Set of 3 incoming or outgoing Spreader Links for 3 Pole DRX 100 | LEGRAND | 6250 10 | 290 | 8 | 67 | 194.3 | 95.7 | 765.6
10 | DIGITAL METER | VAF+PF Meter, 3Ph with RS485 Port, CT Sec: 1/5A, Acc Cl: 1, Size: 96 x 96, Model: PMX 4000 | LEGRAND | 4149 80 | 4394 | 3 | 67 | 2943.98 | 1450.02 | 4350.06
11 | DIGITAL METER | VAF+PF Meter, 3Ph, CT Sec: 1/5A, Acc Cl: 1, Size: 96 x 96, Model: PMX 4000 | LEGRAND | 4149 79 | 3682 | 10 | 67 | 2466.94 | 1215.06 | 12150.6
12 | Manually Entered Data | 12 Steps Power factor Controller, Type: Eco | LEGRAND | 4151 98 | 26962 | 1 | 67 | 18064.54 | 8897.46 | 8897.46
13 | MCB | 6A 1P 10kA C-Curve MCB | LEGRAND | 4085 87 | 390 | 54 | 68 | 265.2 | 124.8 | 6739.2
14 | MCB | 16A 1P 10kA C-Curve MCB | LEGRAND | 4085 92 | 390 | 76 | 68 | 265.2 | 124.8 | 9484.8
15 | MCB | 20A 1P 10kA C-Curve MCB | LEGRAND | 4085 93 | 390 | 4 | 68 | 265.2 | 124.8 | 499.2
16 | MCB | 25A 1P 10kA C-Curve MCB | LEGRAND | 4085 94 | 390 | 84 | 68 | 265.2 | 124.8 | 10483.2
17 | MCB | 32A 1P 10kA C-Curve MCB | LEGRAND | 4085 95 | 390 | 80 | 68 | 265.2 | 124.8 | 9984
18 | MCB | 20A 3P 10kA C-Curve MCB | LEGRAND | 4086 56 | 2076 | 1 | 68 | 1411.68 | 664.32 | 664.32
19 | MCB | 40A 3P 10kA C-Curve MCB | LEGRAND | 4086 59 | 3150 | 13 | 68 | 2142 | 1008 | 13104
20 | MCB | 100A 3P 10kA MCCB, TM Release (Fixed Thermal and Fixed Magnetic), Type: DRX 100 | LEGRAND | 0270 08 | 3870 | 4 | 68 | 2631.6 | 1238.4 | 4953.6
21 | MCB | 10A 1P 10kA C-Curve MCB | LEGRAND | 4085 90 | 390 | 56 | 68 | 265.2 | 124.8 | 6988.8
22 | MCB | 63A 4P 10kA C-Curve MCB | LEGRAND | 4087 02 | 4012 | 13 | 68 | 2728.16 | 1283.84 | 16689.92
23 | MCB | 32A 2P 10kA C-Curve MCB | LEGRAND | 4086 36 | 1280 | 17 | 68 | 870.4 | 409.6 | 6963.2
24 | MCB | 63A 1P 10kA C-Curve MCB | LEGRAND | 4085 98 | 892 | 2 | 68 | 606.56 | 285.44 | 570.88
25 | MCB | 40A 4P 10kA C-Curve MCB | LEGRAND | 4087 00 | 4012 | 2 | 68 | 2728.16 | 1283.84 | 2567.68
26 | MCB | 32A 4P 10kA C-Curve MCB | LEGRAND | 4086 99 | 2820 | 1 | 68 | 1917.6 | 902.4 | 902.4
27 | MCB | 25A 4P 10kA C-Curve MCB | LEGRAND | 4086 98 | 2820 | 5 | 68 | 1917.6 | 902.4 | 4512
28 | MCB | 16A 2P 10kA C-Curve MCB | LEGRAND | 4086 33 | 1280 | 16 | 68 | 870.4 | 409.6 | 6553.6
29 | MCCB | 400A 4P 36kA MCCB, TM Release (Adjustable Thermal and Adjustable Magnetic), Type: DRX 630 | LEGRAND | 6676 55 | 41400 | 5 | 68 | 28152 | 13248 | 66240
30 | MCCB | 100A 4P 25kA MCCB, TM Release (Adjustable Thermal and Fixed Magnetic), Type: DRX125HP | LEGRAND | 6697 18 | 12410 | 13 | 68 | 8438.8 | 3971.2 | 51625.6
31 | MCCB | 125A 4P 25kA MCCB, TM Release (Adjustable Thermal and Fixed Magnetic), Type: DRX125HP | LEGRAND | 6697 19 | 15680 | 3 | 68 | 10662.4 | 5017.6 | 15052.8
32 | MCCB | 160A 4P 25kA MCCB, TM Release (Adjustable Thermal and Adjustable Magnetic), Type: DRX 250HP | LEGRAND | 6690 30 | 21940 | 11 | 68 | 14919.2 | 7020.8 | 77228.8
33 | MCCB | 250A 4P 25kA MCCB, TM Release (Adjustable Thermal and Adjustable Magnetic), Type: DRX 250HP | LEGRAND | 6690 32 | 29960 | 3 | 68 | 20372.8 | 9587.2 | 28761.6
34 | MCCB | 630A 3P 36kA MCCB, TM Release (Adjustable Thermal and Adjustable Magnetic), Type: DRX 630 | LEGRAND | 6676 53 | 43020 | 1 | 68 | 29253.6 | 13766.4 | 13766.4
35 | MCCB | 100A 3P 25kA MCCB, TM Release (Adjustable Thermal and Fixed Magnetic), Type: DRX125HP | LEGRAND | 6697 08 | 8920 | 16 | 68 | 6065.6 | 2854.4 | 45670.4
36 | MCCB | 63A 3P 25kA MCCB, TM Release (Adjustable Thermal and Fixed Magnetic), Type: DRX125HP | LEGRAND | 6697 06 | 8920 | 2 | 68 | 6065.6 | 2854.4 | 5708.8
37 | MCCB ACCESSORIES | Set of 4 incoming or outgoing Spreader Links - 4P 400A, Type: DRX 630 | LEGRAND | 4226 32 | 2290 | 10 | 68 | 1557.2 | 732.8 | 7328
38 | MCCB ACCESSORIES | Rotary Handle-Vary-depth (Extended) for DRX 630 | LEGRAND | 6687 81 | 3940 | 6 | 68 | 2679.2 | 1260.8 | 7564.8
39 | MCCB ACCESSORIES | Auxiliary contact for fault signalling/ON-OFF for DPX 160/250/630/1600 | LEGRAND | 4210 11 | 1350 | 2 | 68 | 918 | 432 | 864
40 | MCCB ACCESSORIES | Set of 4 incoming or outgoing Spreader Links for 4 Pole DRX 125HP | LEGRAND | 6250 11 | 420 | 32 | 68 | 285.6 | 134.4 | 4300.8
41 | MCCB ACCESSORIES | Rotary Handle-Vary-depth (Extended) for DRX 125HP | LEGRAND | 6687 71 | 2030 | 34 | 68 | 1380.4 | 649.6 | 22086.4
42 | MCCB ACCESSORIES | Set of 4 incoming or outgoing Spreader Links for DRX-250HP 4P | LEGRAND | 6250 18 | 1150 | 28 | 68 | 782 | 368 | 10304
43 | MCCB ACCESSORIES | Rotary Handle-Vary-depth (Extended) for DRX 250HP | LEGRAND | 6687 73 | 2100 | 14 | 68 | 1428 | 672 | 9408
44 | MCCB ACCESSORIES | Set of 3 incoming or outgoing Spreader Links - 3P 400A, Type: DRX 630 | LEGRAND | 4226 31 | 1720 | 2 | 68 | 1169.6 | 550.4 | 1100.8
45 | MCCB ACCESSORIES | Set of 3 incoming or outgoing Spreader Links for 3 Pole DRX 125HP | LEGRAND | 6250 10 | 290 | 36 | 68 | 197.2 | 92.8 | 3340.8
46 | POWER CONTACTOR | AC3: 400A AC1: 500A 4P Power Contactor, Coil: 100-240V AC/DC, Aux. Contact: 2NO+2NC, Type: CTX3 | LEGRAND | 4165 06 | 93500 | 1 | 67 | 62645 | 30855 | 30855
47 | POWER CONTACTOR | AC3: 9A AC1: 20A 3P Mini Power Contactor, Coil: 230V AC, Type: CTX3 | LEGRAND | 4170 26 | 1680 | 1 | 67 | 1125.6 | 554.4 | 554.4
48 | POWER CONTACTOR | AC3: 12A AC1: 20A 3P Mini Power Contactor, Coil: 230V AC, Type: CTX3 | LEGRAND | 4170 46 | 1820 | 3 | 67 | 1219.4 | 600.6 | 1801.8
49 | POWER CONTACTOR | AC3: 18A AC1: 40A 3P Power Contactor, Coil: 230V AC, Aux. Contact: 1NO+1NC, Type: CT3 22 | LEGRAND | 4161 06 | 2190 | 1 | 67 | 1467.3 | 722.7 | 722.7
50 | POWER CONTACTOR ACCESSORIES | 1NO+1NC Front Mounted Add on auxiliary blocks for CTX3 contactors | LEGRAND | 4168 50 | 550 | 12 | 67 | 368.5 | 181.5 | 2178
51 | POWER CONTACTOR ACCESSORIES | Capacitor Switching Units (9.7-62kVAr) For contactors CTX3 3P from 9 to 40 A | LEGRAND | 4168 74 | 2410 | 7 | 67 | 1614.7 | 795.3 | 5567.1
52 | POWER CONTACTOR ACCESSORIES | AC3: 75A AC1: 110A 3P Power Contactor, Coil: 230V AC, Aux. Contact: 2NO+2NC, Type: CTX3 100 | LEGRAND | 4161 86 | 16900 | 4 | 67 | 11323 | 5577 | 22308
53 |  | 25kVAr 3Ph Standard Duty Resin filled 440V AC Cylindrical Capacitor | LEGRAND | 5150 10 | 8292 | 10 | 67 | 5555.64 | 2736.36 | 27363.6
54 |  | AC3: 32A AC1: 50A 3P Power Contactor, Coil: 230V AC, Aux. Contact: 2NO+2NC, Type: CTX3 40 | LEGRAND | 4161 26 | 5650 | 2 | 67 | 3785.5 | 1864.5 | 3729
55 |  | Capacitor Switching Units (9.7-62kVAr) For contactors CTX3 3P 75 to 100 A with screw terminals | LEGRAND | 4168 77 | 3550 | 4 | 67 | 2378.5 | 1171.5 | 4686
936027.94